## Taxonomy Data
ID | Preferred Term | Synonyms | Definition | Parent Term | Tag Type | Platform Compatibility | License Type | Deployment Model | Functionality Tags | Tridium Part No. | Product Status | Intended Audience | Notes / Comments
TX-0001 | Niagara Framework | Niagara Core, NF | Core software platform developed by Tridium for integration, control, and visualization of building systems. |  | Framework | JACE, Supervisor, Edge | Included | Edge, Server, Cloud | Integration, Control, Visualization | tbd | Active | System Integrator
TX-0002 | Niagara Supervisor | Supervisor | Server-level software for managing Niagara-based systems, providing logging, dashboards, and integration. | Niagara Framework | Software | Supervisor | Optional | Server | Visualization, Control, Integration | tbd | Active | System Integrator, Facility Manager
TX-0003 | SUP-0 |  |  | Niagara Supervisor | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0004 | SUP-1 |  |  | Niagara Supervisor | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0005 | SUP-2 |  |  | Niagara Supervisor | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0006 | SUP-10 |  |  | Niagara Supervisor | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0007 | SUP-100 |  |  | Niagara Supervisor | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0008 | SUP-UNL |  |  | Niagara Supervisor | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0009 | SUP-UP-1 |  |  | Niagara Supervisor | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0010 | SUP-UP-100 |  |  | Niagara Supervisor | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0011 | SUP-UP-UNL |  |  | Niagara Supervisor | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0012 | SUP-DEVICE-10 |  |  | Niagara Supervisor | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0013 | SUP-DEVICE-100 |  |  | Niagara Supervisor | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0014 | Niagara Cloud Suite | tbd | Suite of cloud-based services extending the Niagara Framework for secure remote access and data services. | Niagara Framework | Cloud Service | JACE, Supervisor | Optional | Cloud | Remote Management, Cloud Access | tbd | Active | System Integrator, Facility Manager
TX-0015 | NCS-REMOTE |  |  | Niagara Cloud Suite | Cloud Service | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0016 | NCS-REMOTE-SUP |  |  | Niagara Cloud Suite | Cloud Service | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0017 | NCS-RECOVER |  |  | Niagara Cloud Suite | Cloud Service | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0018 | NCS-RECOVER-SUP |  |  | Niagara Cloud Suite | Cloud Service | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0019 | NCS-NDS-BASIC |  |  | Niagara Cloud Suite | Cloud Service | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0020 | NCS-NDS-SILVER |  |  | Niagara Cloud Suite | Cloud Service | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0021 | NCS-NDS-GOLD |  |  | Niagara Cloud Suite | Cloud Service | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0022 | Niagara Enterprise Security | tbd | tbd | Niagara Framework | Software | Supervisor | Optional | Server | Access Control, Security Management | tbd | Active | Security Admin
TX-0023 | SEC-SUP-32 |  |  | Niagara Enterprise Security | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0024 | SEC-J8-32 |  |  | Niagara Enterprise Security | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0025 | SEC-R-16 |  |  | Niagara Enterprise Security | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0026 | SEC-R-256 |  |  | Niagara Enterprise Security | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0027 | Niagara Analytics | tbd | tbd | Niagara Framework | Software | JACE, Supervisor | Optional | Edge, Server | Analytics, Data Processing | tbd | Active | System Integrator
TX-0028 | NA-S-N4-1000 |  |  | Niagara Analytics | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0029 | NA-EC-N4-100 |  |  | Niagara Analytics | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0030 | Niagara Drivers |  |  | Niagara Framework | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0031 | BACnet IP Client/Server | BACnet IP | Driver for BACnet/IP protocol communication, supporting client and server roles. | Niagara Drivers | Driver | JACE, Supervisor | Included | Edge, Server | Protocol Integration, Communication | tbd | Active | System Integrator
TX-0032 | Modbus TCP Master/Slave | Modbus TCP | Standard Modbus driver supporting master/slave TCP communication. | Niagara Drivers | Driver | JACE, Supervisor | Included | Edge, Server | Protocol Integration, Communication | tbd | Active | System Integrator
TX-0033 | SQL Database Driver | SQL Connector | Driver to interface Niagara Supervisor with external SQL databases. | Niagara Drivers | Driver | Supervisor | Optional | Server | Database Integration, Logging | tbd | Active | Developer, IT Admin
TX-0034 | Carrier Comfort Network Driver |  |  | Niagara Drivers | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0035 | Niagara Video Integration |  |  | Niagara Framework | Software | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0036 | DR-S-MLS-64 |  |  | Niagara Video Integration | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0037 | DR-S-AXIS-64 |  |  | Niagara Video Integration | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0038 | Hardware |  |  |  | Hardware | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0039 | Controllers |  |  | Hardware | Hardware | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0040 | JACE-8000 | tbd | Edge hardware controller running the Niagara Framework, used for local integration and control. | Controllers | Hardware | JACE | Licensed | Edge | Edge Control, Integration | JACE-8000 | Active | OEM, System Integrator
TX-0041 | JACE-834 |  |  | JACE-8000 | Hardware | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0042 | JACE-9000 | tbd | Next-generation Niagara controller with enhanced performance and connectivity. | Controllers | Hardware | JACE | Licensed | Edge | Edge Control, Integration | JACE-9000 | Active | OEM, System Integrator
TX-0043 | EDGE-10 |  |  | Controllers | Hardware | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0044 | I/O Modules |  |  | Hardware | Hardware | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0045 | IO-R-16 | tbd | Expansion module providing 16 I/O points for Niagara controllers. | I/O Modules | Hardware | JACE | Licensed | Edge | I/O Expansion | IO-R-16 | Active | Installer, OEM
TX-0046 | IO-R-34 | tbd | Expansion module with 34 I/O points; can power other IO-R modules. | I/O Modules | Hardware | JACE | Licensed | Edge | I/O Expansion | IO-R-34 | Active | Installer, OEM
TX-0047 | Included Drivers |  |  | Niagara Drivers | Driver Category | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0048 | Supervisor-Only Drivers |  |  | Niagara Drivers | Driver Category | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0049 | JACE-Only Drivers |  |  | Niagara Drivers | Driver Category | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0050 | BACnet IP Client/Server | BACnet IP | Driver for BACnet/IP protocol communication, supporting client and server roles. | Included Drivers | Driver | JACE, Supervisor | Included | Edge, Server | Protocol Integration, Communication | tbd | Active | System Integrator
TX-0051 | BACnet MSTP |  |  | Included Drivers | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0052 | BACnet Secure Connect |  |  | Included Drivers | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0053 | KNX IP |  |  | Included Drivers | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0054 | Lon IP |  |  | Included Drivers | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0055 | Modbus TCP Master/Slave | Modbus TCP | Standard Modbus driver supporting master/slave TCP communication. | Included Drivers | Driver | JACE, Supervisor | Included | Edge, Server | Protocol Integration, Communication | tbd | Active | System Integrator
TX-0056 | MQTT |  |  | Included Drivers | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0057 | SNMP |  |  | Included Drivers | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0058 | SQL Database Driver | SQL Connector | Driver to interface Niagara Supervisor with external SQL databases. | Supervisor-Only Drivers | Driver | Supervisor | Optional | Server | Database Integration, Logging | tbd | Active | Developer, IT Admin
TX-0059 | HTTP Client Driver |  |  | Supervisor-Only Drivers | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0060 | Micros Fidelio IP Driver |  |  | Supervisor-Only Drivers | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0061 | OpenADR VEN Driver | OpenADR | Virtual End Node driver supporting OpenADR 2.0 for automated demand response. | Supervisor-Only Drivers | Driver | Supervisor | Optional | Server | Energy Management, Demand Response | tbd | Active | Energy Manager
TX-0062 | Carrier Comfort Network Driver |  |  | JACE-Only Drivers | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd
TX-0063 | Veeder-Root Driver | tbd | Driver for integration with Veeder-Root fuel monitoring systems. | JACE-Only Drivers | Driver | JACE | Optional | Edge | Fuel System Integration | tbd | Active | Retail Facility Manager
TX-0064 | SMS Alarm Driver | SMS Notification | Driver for sending SMS alerts from JACE devices in alarm scenarios. | JACE-Only Drivers | Driver | JACE | Optional | Edge | Notifications, Alerts | tbd | Active | Installer, Technician
TX-0065 | JSON Toolkit |  |  | JACE-Only Drivers | Driver | tbd | tbd | tbd | tbd | tbd | Active | tbd

## Controlled Vocabulary
ID | Tag Category | Allowed Value
CV-0001 | Tag Type | Software
CV-0002 | Tag Type | Hardware
CV-0003 | Tag Type | Cloud Service
CV-0004 | Tag Type | Protocol Driver
CV-0005 | Tag Type | Database Driver
CV-0006 | Tag Type | Communication Driver
CV-0007 | Platform Compatibility | JACE
CV-0008 | Platform Compatibility | Supervisor
CV-0009 | Platform Compatibility | Edge
CV-0010 | Platform Compatibility | JACE, Supervisor
CV-0011 | Platform Compatibility | Supervisor, Edge
CV-0012 | License Type | Included
CV-0013 | License Type | Optional
CV-0014 | License Type | Licensed
CV-0015 | Deployment Model | Edge
CV-0016 | Deployment Model | Server
CV-0017 | Deployment Model | Cloud
CV-0018 | Functionality Tags | Integration
CV-0019 | Functionality Tags | Control
CV-0020 | Functionality Tags | Visualization
CV-0021 | Functionality Tags | Remote Access
CV-0022 | Functionality Tags | Cloud Management
CV-0023 | Functionality Tags | I/O Expansion
CV-0024 | Functionality Tags | Protocol Integration
CV-0025 | Functionality Tags | Communication
CV-0026 | Functionality Tags | Database Integration
CV-0027 | Functionality Tags | Logging
CV-0028 | Functionality Tags | Energy Management
CV-0029 | Functionality Tags | Notifications
CV-0030 | Functionality Tags | Alerts
CV-0031 | Functionality Tags | Fuel System Integration
CV-0032 | Functionality Tags | Data API
CV-0033 | Functionality Tags | Semantic Data
CV-0034 | Functionality Tags | Disaster Recovery
CV-0035 | Functionality Tags | Edge Control
CV-0036 | Intended Audience | System Integrator
CV-0037 | Intended Audience | OEM
CV-0038 | Intended Audience | Installer
CV-0039 | Intended Audience | Facility Manager
CV-0040 | Intended Audience | IT Admin
CV-0041 | Intended Audience | Developer
CV-0042 | Intended Audience | Technician
CV-0043 | Intended Audience | Energy Manager
CV-0044 | Intended Audience | Retail Facility Manager
CV-0045 | Product Status | Active
CV-0046 | Product Status | Legacy
CV-0047 | Product Status | In Development